[image: image1.jpg]TIN No. 08532161130

GLOBMAL ENTERPRISES

Add. : B-287, Sitapura Resedndential Area,
Jaipur, 302022 (Rajasthan) INDIA

Mob.: 9462520276, 9983985448, 9887489397
Email : genterprises706@gmail.com

Website : www.globalenterpries.com

PAN NoO.: AVXPP9958N

Deals In (Manufacture & Exporter)

1. Lab Testing Equipments for Paper Mills,
Packaging Ind. Textile Mills, Oil Ind.
Pharma, Medical etc.

. Pulp Paper, Board Mill Machinery & Spares.

. Auto Guide & Palm Sencer Assembly.

. Consistency & Basis Weight Control.

. Rubber Bellows.

. Wax Sticks.

o 0N w N





GST NO. 08AVXPP9958N1ZY                                                           PAN NO. AVXPP9958N

Ref: GE/Quot-169/Dec/2021                                                                        Date: 23.12.21

To,


M/s Megafarm Agro Producer Company Limited

At Avakali Post Metgutab

Tal Mahabaleshwar

Dist Satara -412806

8181934242

27AAOCM0958N1ZQ

Email:         freshfoods@megafarm.in,

Kind Attn. Mr. Nilesh
Sub. Our Final Best Competitive Offer for Lab Testing Equipment’s.

Dear Sirs, 

This is in reference to your Email Inquiry Through India Mart and Telephonic discussion held with you and Our Mr. Sanjay Kumar (09462520276) dated 23/12/2021 had with your Good self. We are pleased to enclose herewith our offer for above mentioned along with Technical Leaflets and Reference Lists as per your enquiry.

If you require any additional information or clarification, please feel free to contact us by e-mail or mobile no. 9462520276 / 9782392928 or visit our website www.geinstrument.com 

www.globalenterpries.com
We hope our offer meets with your requirement and we expect a favorable order from you.

Thanking you,

Yours faithfully,

For Global Enterprises

Sanjay Kumar

Sales Head

Encl: (i) Annexure-I

        (ii)Annexure-II

        (iii)Leaflets

       (iv)User List

ANNEXURE-I

Customer Name        : Megafarm Agro Producer Company Limited

 Ref.

            : GE/Quot-170/Dec/2021

Destination 
            : Maharashtra

Date 

            : 23.12.2021
	S.NO.
	ITEM

CODE
	DESCRIPTION
	TOTAL PRICE

(IN RS.)

	1.
	GE-5053

   
	LABORATORY OVEN

Digital Model

It is used for moisture determination of pulp, paper & paperboard etc.

Double walled, heavily insulated, and with Circulating Fan. Temperature range  : 5o C to 250o C 

Accuracy ± 0.5o C.  

Size:  14” x 14” x 14”

Size:  18” x 18” x 18”

Size:  24” x 24” x 24”

HSN CODE: 8514
	16,000=00

25,000=00

33,000=00

	2.
	GE-112
	VERTICAL AUTOCLAVE DOUBLE WALLED SIZE 300mm X 500mm

Water inlet and water outlet  

Steam release valve

Pressure release valve 

Pressure gauge

Silicon Gas kit 

Inner & Outer body Stainless Steel

Wing Nut locking system 

                                   [image: image2.jpg]



HSN CODE: 8419


	   42,000=00

	3.
	GE-5056
	PH METER

It is used for measuring pH value of the pulp solution or other similar material. Measuring Range: 0-14 pH, Readout 3½ digits, Resolving Power 0.01pH 1m V

HSN CODE: 8419
	9,000=00

	4.
	GE-5051
	Digital LAB INCUBATOR

These are Sturdy double walled units with outer chamber made of Mild Steel (M.S) Duly Powder coated & inner chamber made of Stainless Steel. The Space between inner & outer chamber is filled with High grade Glass Wool to avoid thermal losses. The double walled door is fitted with glass window to facilitate viewing inside chamber without disturbing the inner temperature and has synthetic rubber/fiber gasket. Unit has ventilation slides on two sides to control inner air/ vapor circulation. Fitted with beaded heating elements placed in ribs, at  bottom & sides for uniform heat distribution. Temperature is controlled by hydraulic type capillary thermostat. Temp. range  +5°C to 90°
 Microprocessor based PID Digital Controller Based 

HSN CODE: 8419
	

	
	
	600mm X 600mm X 600mm


	38,000=00

	5.
	GE-3069
	FORD CUP FOR VISCOSITY TEST

Ford Cup is used for the control of the control of the kinetic viscosity of inks, resins, varnishes and any other liquid with Newtonian flow properties.

As per ASTM/1200 MB 1117 along with stop watch.

HSN CODE: 8419
	         4,000=00

	6.
	GE-114
	DIGITAL COLONY COUNTER

Digital Colony Counter is designed for quick and accurate counting of bacterial 

and mold colonies in Petri dishes. Feature packed & easy to use, this is an

 indispensable bench top tool for the busy microbiologist.

 It is designed for rapid and accurate counting bacterial and mold colonies. Simply place the Petri dish

 on the illuminated pad and touch the dish with the pen provided to mark each 

colony in turn.

Digital Display

4-digit, 999 Max. Count (358a)





3-digit, 999 Max. Count (358b)

Dish Size


110 mm

Dimensions


L274ᵡ B 320ᵡ H 167 mm (approx)

Weight



3 kgs (approx) 

Power 



230V-10%AC,50Hz,40W

Accessories


Marking Pen (1 No.), Magnifier Lens (1 No.)

HSN CODE: 8419

[image: image3.jpg]



	10,000=00

	7.
	GE-118
	  Laminar Air Flow 

Horizontal Laminar Air Flow Cabinets works on laminar flow principle involves double filtration of air through coarse Pre-Filters (up to 5 microns) and Hepa filters (down to 0.3 microns) for filtration of Biological & Particulate contaminants.

A constant unit - directional air flows either Horizontally or Vertically, is drawn from atmosphere and passed through pre and Hepa filters on to the work surface.

Fabricated out of reinforced pest and weather resistant Duro-board which is clad in from outside in laminated sheet and inner exposed areas are finished in Epoxy paint.

Table top stainless-steel sheet.

Side panels are fixed and made of clear plexiglass.

Front door is folding & made of clear plexiglass.

Pre-filters: - DOP tested as per Standard BS: 2831 with efficiency 90% down to 5 microns. Made of Washable synthetic material.

Features: - Lighting: Fluorescent tube lights Sterilization: Germicidal Ultra Violet (UV) tube Manometer: Static pressure thick Acrylic block type

Size: 4”X2”X2”
Body: S.S. TOP OUTER M.S
[image: image4.jpg]



HSN CODE: 8419


	   92,000=00

	8.
	GE-3069(B)
	DIGITAL ROTATIONAL  VISCOMETER:-
SAILIENT FEATURE:-

Big Ultra Bright Backlight LCD Display

Direct reading on display

Auto Range  function 

Temperature display

Digital Direct Reading Rotational Viscometer 

Rotational Digital Direct Reading Viscometer to measure absolute viscosity of Newtonians  liquids as well apparent viscosity of non – Newtonians  liquid featured by high flexibility, reliable Test result, easy operations and good appearance.
Common Specifications                                

Selected speed 

Viscosity Reading 

Temperature

Data Displayed 

Selected Spindle

Torque Percentage
SPECIFICATION:-

Measuring Range 

:
20-2,000,000  mpa.s

No of standard Spindle   

:             4

Speed    



:  
0.3 to 60

No of speed


:
8

Temperature Monitoring                  : 
 yes

Measurement Accuracy     

: 
 +/-1%(FS)

Repeatability    


: 
+/-0.5%(FS)

 Power Supply


:
220 Ac / 50 Hz

HSN CODE: 8419
	1,30,000.00



	
	
	TOTAL
	350000.00

	
	
	SGST 9%
	31500.00

	
	
	CGST 9
	31500.00

	
	
	GRAND TOTAL
	413000.00


Note: Technical details and Picture for Oven, Ph Meter, Viscosity, and Lab Incubator as below after Annexure-II

ANNEXURE – (II)
GLOBAL ENTERPRISES

                                    Works:    B-287, Sitapura Residential Area 

                        Sitapura, Jaipur-302022

                               Tel No.:+91-9462520276, 9887489397

	Terms & Conditions

	Prices

          :
	The prices mentioned are net and ex-works, Jaipur basis and are exclusive of :



	Packing                    :

GST                        :

Excise Duty             :   
	Extra on actuals Or 3% 

18 %

NIL.



	Payment Terms      :
	50% Advance against Purchase order and balance against Performa Invoice prior to dispatch.



	Delivery                   :
	Within 10 days after confirmation of purchase order.



	Validity                    :
	The offer is valid for a period of 30 days.



	Warranty                 : 
	All equipment’s supplied by us are under warranty period of 12 months from the date of Installation & Commissioning against any manufacturing defects but not for normal wear or damage caused due to mishandling of the equipment



	Commissioning       : 
	You have to pay To & Fro fare along with Boarding & Lodging at your end. Service Charge will be taken after 5 working days.  



	Cancellation            :
	Order recovered & acknowledge by us shall not be subjected to cancellation for any reasons. 



	Jurisdiction             : 


	All contracts between purchaser and ourselves are deemed to be entered at JAIPUR and are therefore subject to the jurisdiction of courts of JAIPUR.



	After Sales Service : 
	We will go for an Annual Maintenance Contract on basis of service charges.


For GLOBAL ENTERPRISES.

Authorized Signatory

[image: image5.jpg]


 GLOBAL ENTERPRISES.

LAB OVEN 
MODEL: GE-5053
	The Lab Oven to measure the moisture determination of Pulp, Paper & Paperboard etc.

	

	Application Standards :

TAPPI

SCAN

ISO

OPTION :

Digital Temperature indicator cum controller.
	[image: image6.jpg]




	                                TECHNICAL - SPECIFICATION
    [image: image7.png]



Outer chamber of MS sheet and inner chamber Stainless Steel or aluminum sheet. Pure glass   

 
 wool insulated with gap of 65 mm. Door is fitted on heavy cast and chromium plated brass  

      hinges with insulated handle to push and pull the door. Outside finish in Hammertone or  

      Synthetic cream or white.

    [image: image8.png]



Three switches, two pilot lamps, two movable shelves, 150 cm cord. Three pin plug and L-shape 

      horizontal thermometer.

    [image: image9.png]



All heating elements made from best 80/20-composition nickel/chromium imported KANTHAL  
wire. Rib heat radiation system works on 220/230 V single phase AC only.

    [image: image10.png]


    Temperature from room temperature to 250 ºC an accuracy of thermostat ± 1 ºC to 2 ºC or
less.

    [image: image11.png]



Air enters through the holes at the bottom and leaves through the adjustable exhauster (chimney) at the
 top or on both the side of the oven by gravity convection.
    [image: image12.png]



Inner chamber size: 18" X 18" X 18”


	Head Office & Works:  B-287, Sitapura Residential Area, Jaipur (Raj.)

Cell: 9462520276, 9887489397
Email:salesrtpl26@gmail.com, genterprises706@gmail.com,


   Website:  www.geinstrument.com, www.globalenterpries.com


[image: image13.jpg]


 GLOBAL ENTERPRISES.

PH-METER 

Model: GE- 5056 (RANGE 0-14PH) 
	PH-METER measures the pH value of the solutions including the pulps & other similar material.
	[image: image14.jpg]PH-METER






	                                TECHNICAL - SPECIFICATION
Read out :
3-1/2 Digits.
Resolving Power :
0.01 Ph 1 MV.
Measuring Range :
0.14 Ph - 1999 ± 1999 MV.
Working Condition :
50 ºC < 85% pH.
Power Source :
AC 220 V 50 Hz.
Power Consumption :

50 W.

Electrodes :

Glass Combined Electrodes.

Over All Dimension :

100 X 330 X 180 mm.



	APPLICATION STANDARDS

TAPPI

SCAN

ISO
	OPTION

As per customer requirement

	Head Office & Works:  B-287, Sitapura Residential Area, Jaipur (Raj.)

Cell: 9462520276, 9887489397
Email:salesrtpl26@gmail.com, genterprises706@gmail.com,


   Website:  www.geinstrument.com, www.globalenterpries.com


[image: image15.jpg]


 GLOBAL ENTERPRISES.

LAB INCUBATOR

Model: GE-5051 (B)
	These are Sturdy double walled units with outer chamber made of Mild Steel (M.S) Duly Powder coated & inner chamber made of Stainless Steel. The Space between inner & outer chamber is filled with High grade Glass Wool to avoid thermal losses. The double walled door is fitted with glass window to facilitate viewing inside chamber without disturbing the inner temperature and has synthetic rubber/fiber gasket. Unit has ventilation slides on two sides to control inner air/ vapor circulation. Fitted with beaded heating elements placed in ribs, at bottom & sides for uniform heat distribution. Temperature is controlled by hydraulic type capillary thermostat. Temp. Range +5°C to 90°.  
	[image: image16.jpg]




	                                TECHNICAL - SPECIFICATION
[image: image17.png]



Double walled, heavily insulated.
    
[image: image18.png]



Temperature range:                    5° C to 90° C.

   
[image: image19.png]



Accuracy:                                    ± 0.5°C.
 

      [image: image20.png]



Inner Chamber size:                    As per requirement.



	APPLICATION STANDARDS

TAPPI, SCAN, ISO
	OPTION

As per customer requirement

	Head Office & Works:  B-287, Sitapura Residential Area, Jaipur (Raj.)

Cell: 9462520276, 9887489397
Email:salesrtpl26@gmail.com, genterprises706@gmail.com,


   Website:  www.geinstrument.com, www.globalenterpries.com


[image: image21.jpg]


 GLOBAL ENTERPRISES.

FORD CUP
MODEL: GE- 3069

	The Ford Cup is a classic testing equipment widely used for the control of the kinetic viscosity of inks, resins, varnishes and any other liquid with Newtonian flow properties.

Kinetic viscosity is a measurable physic property form liquids and is caused by the internal friction between infinite microscopic layers present in fluids.

Kinetic viscosity is a key property for the graphic industry because the setup of printing machines is done in close relationship to the printing materials – paper, ink, resin, and varnish – and any unexpected variation in these materials characteristics can lead to poor quality printing.

Manufactured in polished aluminum it has integrated precision level and leveling feet to ensure proper installation in any surface.

Easy to operate the Ford cup can be used anywhere close to critical spots at site providing quickly reliable results.


	[image: image22.jpg]




	APPLICATION STANDARDS

ASTM 1200 and MB 1117
	OPTION

As per customer requirement

	Head Office & Works:  B-287, Sitapura Residential Area, Jaipur (Raj.)

Cell: 9462520276, 9887489397
Email:salesrtpl26@gmail.com, genterprises706@gmail.com,


   Website:  www.geinstrument.com, www.globalenterpries.com


[image: image23.jpg]


 GLOBAL ENTERPRISES.

DIGITAL ROTATIONAL VISCOMETER
MODEL: GE-3069(B)
	SAILIENT FEATURE:-

Big Ultra Bright Backlight LCD Display

Direct reading on display

Auto Range  function 

Temperature display

Digital Direct Reading Rotational Viscometer 

Rotational Digital Direct Reading Viscometer to measure absolute viscosity of Newtonians  liquids as well apparent viscosity of non – Newtonians  liquid featured by high flexibility, reliable Test result, easy operations and good appearance.
Common Specifications                                

Selected speed 

Viscosity Reading 

Temperature

Data Displayed 

Selected Spindle

TTorque Percentage

	[image: image24.png]




	                                TECHNICAL – SPECIFICATION
[image: image25.png]



    Measuring Range 

:
20-2,000,000  mpa.s

[image: image26.png]



 No of standard Spindle   

:             4

[image: image27.png]



 Speed    


:  
0.3 to 60

[image: image28.png]



    No of speed


:
8

Temperature Monitoring                                 : 
 yes

Measurement Accuracy     

               : 
 +/-1%(FS)

Repeatability    


               : 
+/-0.5%(FS)

Power Supply


               :
220 Ac / 50 Hz



	APPLICATION STANDARDS


	OPTION



	Head Office & Works:  B-287, Sitapura Residential Area, Jaipur (Raj.)

Cell: 9462520276, 9887489397
Email:salesrtpl26@gmail.com, genterprises706@gmail.com,


   Website:  www.geinstrument.com, www.globalenterpries.com


Partial List of Users 

Item  
       :   Lab Oven 

Item Code  :    GE - 5053

M/s  Dhanalaxmi Paper Mills Ltd., Dindigul (T.N.)

M/s  Sri Vari Papers Ltd. Gobichettipalayam (T.N.) 

M/s  B.M.M. Paper & Boards Ltd. , Sankarankouil (T.N.) 

M/s  Sri Andal Paper Mills Ltd., Sathyamanglam (T.N.) 

M/s  Sri Vaikunth Paper Mills Ltd., Sathyamangalam (T.N.)

M/s  Goodwill Team of Papers, Madurai (T.N.) 

M/s  Kanchan Paper Mills Ltd., Aurangabad (M.S.)

M/s  Varinder Agro Chemicals Ltd.,(Paper Division), Barnala (P.B.)

M/s  Chandpur Enterprises Ltd., (Paper Divison) Chandpur (U.P.) 

M/s  Shakumbhari Straw Products Ltd., Moradabad (U.P.)

M/s  Al-Rajhi Foam & Plastic Factory (Paper Division), Riyadh, Saudi Arabia 

M/s  Anu Vidhut  -  Rorkee (U.P.)

M/s Raman Boards, Sonipath (Haryana)


M/s Supreme Duplex Boards Ltd, Sivakashi 

M/s Paper Bug, Sri Lanka

M/s FEDCO Paper Corporation, Eygpt 

M/s IBN Engg Co., Eygpt

M/s Dura Kraft Papers Ltd, Pollachi

M/s Reliance Mills Ltd, Chennai

M/s Rama Papers & Boards Ltd, Vapi 

M/s D.S.G.Papers Pvt Ltd, Patiala

M/s Bhagwati Kripa Paper Mills Pvt Ltd, Jaipur 

M/s JMC Engineers, Ahmedabad 

M/s Sri Pariyur Amman Kraft Paper Pvt. Ltd. Erod

M/s K P Papers Ltd. Jammu 

M/s Classic Paper. Hyderabad AP

M/s Sonali Paper & Boards Mills Ltd., Bangladesh

M/s Om Srinivasa Paper Boards. Sattur (TN)

M/s Punjab Metalic. Mohali (PB)

M/s Novel Packaging. Aurangabad-Maharashtra 

M/s Tanveer Paper Mills Ltd. Bangladesh

M/s Naachiar Paper Boards Pvt. Ltd. Sivakasi 

M/s Saan Boards Pvt. Ltd. Jaipur Raj. 

M/s Lubrizol Advanced Materials India Pvt. Ltd. Mumbai

M/s Shakumbari Straw Products Ltd. Muradabad

M/s Fitrite Packers. Kanpur-UP

M/s Median Paper Mills (P) Ltd. Sirkali TN

M/s JMC Engineers. Ahmedabad Gujarat

M/s Saber Paper Boards Pvt. Ltd. Ludhiana (PB)

M/s Shilpa Offset Pvt. Ltd. Thane Mumbai

M/s Eastern India Containers. Vishakapatnam-AP

M/s Asht Vinayak Industries. Varanasi-UP

M/s Millenium Paper. Morbi-Gujarat

M/s Partex Paper Mills Ltd. Bangladesh

M/s Purbanchal Paper Mills Ltd. Bangladesh

M/s Shree Gopinath Paper Mills Pvt. Ltd. Surender Nagar-Gujarat

M/s Soham Paper Pvt. Ltd. Morbi-Gujarat

M/s Laxman Paper Mills Pvt. Ltd. Medapadu-Rajhamundri

M/s Crecent Gems Ltd. Sitapura Jaipur

Partial List of Users

Item Name  
       :
 Lab PH Meter


Model No./ Code  :     GE-5056
M/s Raman Boards, Sonipath, Haryana

Navneet Publication Industries, Ahmedabad (Gujrat)

Rema Paper & Boards Pvt. Ltd., Vapi (Gujrat)

Vaishno Fibers Ltd. Bhopal

Varindra Agro Chemicals Ltd., (Paper Division) Barnala, (Punjab)

Shakumbhari Straw Products Ltd., Bilari (U.P.)

Shree Shakti Paper Mill Ltd. (Unit-Duplex Board), cochin (Kerala)

Gandhitex Multiplex Ltd., Bilemora (Guj.)

D.S.G.Papers Pvt. Ltd, Patiala

Supreme Duplex Boards Ltd, Sivakasi

IBN Engg Co, Eygpt

MEPPCO Paper, Eygpt

FEDCO Paper, Phillippines
M/s White Print O Pack Baddi
Partial List of Users 

Item  
       :   INCUBATOR 
Item Code:    GE - 5051

M/s  Goodwill Team of Papers, Madurai (T.N.)

M/s  Al-Rajhi Foam & Plastic Factory (Paper Division), Riyadh, Saudi Arabia 

M/s Paper Bug, Sri Lanka

M/s FEDCO Paper Corporation, Eygpt

M/s IBN Engg Co., Eygpt

M/s Neha Tech Industries Bagru Jaipur

M/s India Packaging Moradabad

M/s Neha Tech Industries Bagru Jaipur

Partial List of Users 
Item Name:  Viscosity Meter

Item GE:   3069
ABC Paper Ltd., Sailakhurd (P.B.)

Shakumbhari Straw Products Ltd., Muradabad (U.P.)

Dhanlaxmi Paper Mills Ltd., Dindigul (T.N.)

Pitamber Coated Paper Ltd., Delhi.

Shri Lakshmi Craft , Bhiwadi

Shree Venkateshwara Paper & Boards Ltd Tamil Nadu
[image: image29.png]



